## Cost
ALD Field Leak Sheet · Cost Inputs
Blue on yellow = input. Edit only these cells. Basis for each value is in column F.
| This is for the year | 2026
[5 empty] | Gas | $/1000 cf
Cubic Feet = |  | 1000 |  |  | Air | 0.4277
Electricity | Cost = | 0.13 | Per kWh | INPUT REQUIRED. Use the plant's blended $/kWh from 12 months of bills. 0.13 is a placeholder and is flagged on the Leak Log until changed. | Open Blow | 0.4277
Air | Cost = | 0.4277 | Per 1000 Cubic Feet | Calc: kWh per 1000 cf (D13) x electricity rate. | Carbon Dioxide | 0.01
Carbon Dioxide | Cost = | 0.01 | Per 1000 Cubic Feet | Carried from ALD template 2023-2025. Source not documented: confirm with the plant's gas supplier invoice before quoting savings on this gas. | Argon | 22.8
Argon | Cost = | 22.8 | Per 1000 Cubic Feet | Carried from ALD template 2023-2025. Source not documented: confirm with the plant's gas supplier invoice before quoting savings on this gas. | Helium | 99.95
Helium | Cost = | 99.95 | Per 1000 Cubic Feet | Carried from ALD template 2023-2025. Source not documented: confirm with the plant's gas supplier invoice before quoting savings on this gas. | Hydrogen | 11.77
Hydrogen | Cost = | 11.77 | Per 1000 Cubic Feet | Carried from ALD template 2023-2025. Source not documented: confirm with the plant's gas supplier invoice before quoting savings on this gas. | Nitrogen | 3.8
Nitrogen | Cost = | 3.8 | Per 1000 Cubic Feet | Carried from ALD template 2023-2025. Source not documented: confirm with the plant's gas supplier invoice before quoting savings on this gas.
kWh per 1000 cf of air |  | 3.29 |  | ALD template factor (3.29 kWh/1000 cf = 0.197 kW/CFM, DOE Sourcebook planning value at about 100 psi). Replace with the system's measured specific power when known.
Operational Times
Hours Per Day |  | 24 |  | ALD default 24/7. Leaks bleed whenever the header is pressurized, so use pressurized hours, not production hours.
Days Per Year |  | 365
Plant kW per leak CFM |  | 0.1974 |  | Calc. Used for kW and bhp.

## Leak Log
Company name here | [9 empty] | Survey year 2026 |  |  |  | Total Cost Avoidance
Air CFM and Cost |  | Carbon Dioxide CFM and Cost |  | Argon CFM and Cost |  | Helium CFM and Cost |  | Hydrogen CFM and Cost |  | Nitrogen CFM and Cost |  | All Leaks Identified |  | % of Leaks Repaired | Annual Savings (repaired)
CFM | Cost | CFM | Cost | CFM | Cost | CFM | Cost | CFM | Cost | CFM | Cost | CFM | Cost |  | CFM | Cost
1.6394 | 368.5388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6394 | 368.5388 | 0% | 0 | 0
Record Number | Type of Gas | Pressure at Leak (psi) | dB Reading | Problem Location |  |  |  | Problem Description |  |  |  | Repaired (Y/N) | Identified Leaks Cost Avoidance | Size of Leak CFM | Energy Avoidance (kWh) | Unrepaired from Previous Audit (ft³/min) | Leaks Identified Summary |  | CFM basis / check
1 | Air | 100 | 30 | EXAMPLE · Line 3 filler, FRL inlet |  |  |  | EXAMPLE · Push-to-connect fitting leaking |  |  |  | N | 368.5388 | 1.6394 | 2834.914 |  | 2834.914 | kWh | Table curve | 5 | 6 | 1.6394 | 1.9064
2 | [12 empty] | 0 | 0 | 0 |  | 0.32362 | kW
3 | [12 empty] | 0 | 0 | 0 |  | 0.43381 | bhp
4 | [12 empty] | 0 | 0 | 0
5 | [12 empty] | 0 | 0 | 0 |  | Leaks Repaired Summary
6 | [12 empty] | 0 | 0 | 0 |  | 0 | kWh
7 | [12 empty] | 0 | 0 | 0 |  | 0 | kW
8 | [12 empty] | 0 | 0 | 0 |  | 0 | bhp
9 | [12 empty] | 0 | 0 | 0
10 | [12 empty] | 0 | 0 | 0 |  | Open Blows (excluded from leak totals)
11 | [12 empty] | 0 | 0 | 0 |  | 0 | CFM
12 | [12 empty] | 0 | 0 | 0 |  | 0 | $/yr
13 | [12 empty] | 0 | 0 | 0
14 | [12 empty] | 0 | 0 | 0 |  | Rows needing review
15 | [12 empty] | 0 | 0 | 0 |  | 0 | rows
16 | [12 empty] | 0 | 0 | 0 |  | 0 | interpolated
17 | [12 empty] | 0 | 0 | 0 |  | SET PLANT $/kWh ON COST SHEET
18 | [12 empty] | 0 | 0 | 0
19 | [12 empty] | 0 | 0 | 0
20 | [12 empty] | 0 | 0 | 0
21 | [12 empty] | 0 | 0 | 0
22 | [12 empty] | 0 | 0 | 0
23 | [12 empty] | 0 | 0 | 0
24 | [12 empty] | 0 | 0 | 0
25 | [12 empty] | 0 | 0 | 0
26 | [12 empty] | 0 | 0 | 0
27 | [12 empty] | 0 | 0 | 0
28 | [12 empty] | 0 | 0 | 0
29 | [12 empty] | 0 | 0 | 0
30 | [12 empty] | 0 | 0 | 0
31 | [12 empty] | 0 | 0 | 0
32 | [12 empty] | 0 | 0 | 0
33 | [12 empty] | 0 | 0 | 0
34 | [12 empty] | 0 | 0 | 0
35 | [12 empty] | 0 | 0 | 0
36 | [12 empty] | 0 | 0 | 0
37 | [12 empty] | 0 | 0 | 0
38 | [12 empty] | 0 | 0 | 0
39 | [12 empty] | 0 | 0 | 0
40 | [12 empty] | 0 | 0 | 0
41 | [12 empty] | 0 | 0 | 0
42 | [12 empty] | 0 | 0 | 0
43 | [12 empty] | 0 | 0 | 0
44 | [12 empty] | 0 | 0 | 0
45 | [12 empty] | 0 | 0 | 0
46 | [12 empty] | 0 | 0 | 0
47 | [12 empty] | 0 | 0 | 0
48 | [12 empty] | 0 | 0 | 0
49 | [12 empty] | 0 | 0 | 0
50 | [12 empty] | 0 | 0 | 0
51 | [12 empty] | 0 | 0 | 0
52 | [12 empty] | 0 | 0 | 0
53 | [12 empty] | 0 | 0 | 0
54 | [12 empty] | 0 | 0 | 0
55 | [12 empty] | 0 | 0 | 0
56 | [12 empty] | 0 | 0 | 0
57 | [12 empty] | 0 | 0 | 0
58 | [12 empty] | 0 | 0 | 0
59 | [12 empty] | 0 | 0 | 0
60 | [12 empty] | 0 | 0 | 0
61 | [12 empty] | 0 | 0 | 0
62 | [12 empty] | 0 | 0 | 0
63 | [12 empty] | 0 | 0 | 0
64 | [12 empty] | 0 | 0 | 0
65 | [12 empty] | 0 | 0 | 0
66 | [12 empty] | 0 | 0 | 0
67 | [12 empty] | 0 | 0 | 0
68 | [12 empty] | 0 | 0 | 0
69 | [12 empty] | 0 | 0 | 0
70 | [12 empty] | 0 | 0 | 0
71 | [12 empty] | 0 | 0 | 0
72 | [12 empty] | 0 | 0 | 0
73 | [12 empty] | 0 | 0 | 0
74 | [12 empty] | 0 | 0 | 0
75 | [12 empty] | 0 | 0 | 0
76 | [12 empty] | 0 | 0 | 0
77 | [12 empty] | 0 | 0 | 0
78 | [12 empty] | 0 | 0 | 0
79 | [12 empty] | 0 | 0 | 0
80 | [12 empty] | 0 | 0 | 0
81 | [12 empty] | 0 | 0 | 0
82 | [12 empty] | 0 | 0 | 0
83 | [12 empty] | 0 | 0 | 0
84 | [12 empty] | 0 | 0 | 0
85 | [12 empty] | 0 | 0 | 0
86 | [12 empty] | 0 | 0 | 0
87 | [12 empty] | 0 | 0 | 0
88 | [12 empty] | 0 | 0 | 0
89 | [12 empty] | 0 | 0 | 0
90 | [12 empty] | 0 | 0 | 0
91 | [12 empty] | 0 | 0 | 0
92 | [12 empty] | 0 | 0 | 0
93 | [12 empty] | 0 | 0 | 0
94 | [12 empty] | 0 | 0 | 0
95 | [12 empty] | 0 | 0 | 0
96 | [12 empty] | 0 | 0 | 0
97 | [12 empty] | 0 | 0 | 0
98 | [12 empty] | 0 | 0 | 0
99 | [12 empty] | 0 | 0 | 0
100 | [12 empty] | 0 | 0 | 0
101 | [12 empty] | 0 | 0 | 0
102 | [12 empty] | 0 | 0 | 0
103 | [12 empty] | 0 | 0 | 0
104 | [12 empty] | 0 | 0 | 0
105 | [12 empty] | 0 | 0 | 0
106 | [12 empty] | 0 | 0 | 0
107 | [12 empty] | 0 | 0 | 0
108 | [12 empty] | 0 | 0 | 0
109 | [12 empty] | 0 | 0 | 0
110 | [12 empty] | 0 | 0 | 0
111 | [12 empty] | 0 | 0 | 0
112 | [12 empty] | 0 | 0 | 0
113 | [12 empty] | 0 | 0 | 0
114 | [12 empty] | 0 | 0 | 0
115 | [12 empty] | 0 | 0 | 0
116 | [12 empty] | 0 | 0 | 0
117 | [12 empty] | 0 | 0 | 0
118 | [12 empty] | 0 | 0 | 0
119 | [12 empty] | 0 | 0 | 0
120 | [12 empty] | 0 | 0 | 0
121 | [12 empty] | 0 | 0 | 0
122 | [12 empty] | 0 | 0 | 0
123 | [12 empty] | 0 | 0 | 0
124 | [12 empty] | 0 | 0 | 0
125 | [12 empty] | 0 | 0 | 0
126 | [12 empty] | 0 | 0 | 0
127 | [12 empty] | 0 | 0 | 0
128 | [12 empty] | 0 | 0 | 0
129 | [12 empty] | 0 | 0 | 0
130 | [12 empty] | 0 | 0 | 0
131 | [12 empty] | 0 | 0 | 0
132 | [12 empty] | 0 | 0 | 0
133 | [12 empty] | 0 | 0 | 0
134 | [12 empty] | 0 | 0 | 0
135 | [12 empty] | 0 | 0 | 0
136 | [12 empty] | 0 | 0 | 0
137 | [12 empty] | 0 | 0 | 0
138 | [12 empty] | 0 | 0 | 0
139 | [12 empty] | 0 | 0 | 0
140 | [12 empty] | 0 | 0 | 0
141 | [12 empty] | 0 | 0 | 0
142 | [12 empty] | 0 | 0 | 0
143 | [12 empty] | 0 | 0 | 0
144 | [12 empty] | 0 | 0 | 0
145 | [12 empty] | 0 | 0 | 0
146 | [12 empty] | 0 | 0 | 0
147 | [12 empty] | 0 | 0 | 0
148 | [12 empty] | 0 | 0 | 0
149 | [12 empty] | 0 | 0 | 0
150 | [12 empty] | 0 | 0 | 0
151 | [12 empty] | 0 | 0 | 0
152 | [12 empty] | 0 | 0 | 0
153 | [12 empty] | 0 | 0 | 0
154 | [12 empty] | 0 | 0 | 0
155 | [12 empty] | 0 | 0 | 0
156 | [12 empty] | 0 | 0 | 0
157 | [12 empty] | 0 | 0 | 0
158 | [12 empty] | 0 | 0 | 0
159 | [12 empty] | 0 | 0 | 0
160 | [12 empty] | 0 | 0 | 0
161 | [12 empty] | 0 | 0 | 0
162 | [12 empty] | 0 | 0 | 0
163 | [12 empty] | 0 | 0 | 0
164 | [12 empty] | 0 | 0 | 0
165 | [12 empty] | 0 | 0 | 0
166 | [12 empty] | 0 | 0 | 0
167 | [12 empty] | 0 | 0 | 0
168 | [12 empty] | 0 | 0 | 0
169 | [12 empty] | 0 | 0 | 0
170 | [12 empty] | 0 | 0 | 0
171 | [12 empty] | 0 | 0 | 0
172 | [12 empty] | 0 | 0 | 0
173 | [12 empty] | 0 | 0 | 0
174 | [12 empty] | 0 | 0 | 0
175 | [12 empty] | 0 | 0 | 0
176 | [12 empty] | 0 | 0 | 0
177 | [12 empty] | 0 | 0 | 0
178 | [12 empty] | 0 | 0 | 0
179 | [12 empty] | 0 | 0 | 0
180 | [12 empty] | 0 | 0 | 0
181 | [12 empty] | 0 | 0 | 0
182 | [12 empty] | 0 | 0 | 0
183 | [12 empty] | 0 | 0 | 0
184 | [12 empty] | 0 | 0 | 0
185 | [12 empty] | 0 | 0 | 0
186 | [12 empty] | 0 | 0 | 0
187 | [12 empty] | 0 | 0 | 0
188 | [12 empty] | 0 | 0 | 0
189 | [12 empty] | 0 | 0 | 0
190 | [12 empty] | 0 | 0 | 0
191 | [12 empty] | 0 | 0 | 0
192 | [12 empty] | 0 | 0 | 0
193 | [12 empty] | 0 | 0 | 0
194 | [12 empty] | 0 | 0 | 0
195 | [12 empty] | 0 | 0 | 0
196 | [12 empty] | 0 | 0 | 0
197 | [12 empty] | 0 | 0 | 0
198 | [12 empty] | 0 | 0 | 0
199 | [12 empty] | 0 | 0 | 0
200 | [12 empty] | 0 | 0 | 0
201 | [12 empty] | 0 | 0 | 0
202 | [12 empty] | 0 | 0 | 0
203 | [12 empty] | 0 | 0 | 0
204 | [12 empty] | 0 | 0 | 0
205 | [12 empty] | 0 | 0 | 0
206 | [12 empty] | 0 | 0 | 0
207 | [12 empty] | 0 | 0 | 0
208 | [12 empty] | 0 | 0 | 0
209 | [12 empty] | 0 | 0 | 0
210 | [12 empty] | 0 | 0 | 0
211 | [12 empty] | 0 | 0 | 0
212 | [12 empty] | 0 | 0 | 0
213 | [12 empty] | 0 | 0 | 0
214 | [12 empty] | 0 | 0 | 0
215 | [12 empty] | 0 | 0 | 0
216 | [12 empty] | 0 | 0 | 0
217 | [12 empty] | 0 | 0 | 0
218 | [12 empty] | 0 | 0 | 0
219 | [12 empty] | 0 | 0 | 0
220 | [12 empty] | 0 | 0 | 0
221 | [12 empty] | 0 | 0 | 0
222 | [12 empty] | 0 | 0 | 0
223 | [12 empty] | 0 | 0 | 0
224 | [12 empty] | 0 | 0 | 0
225 | [12 empty] | 0 | 0 | 0
226 | [12 empty] | 0 | 0 | 0
227 | [12 empty] | 0 | 0 | 0
228 | [12 empty] | 0 | 0 | 0
229 | [12 empty] | 0 | 0 | 0
230 | [12 empty] | 0 | 0 | 0
231 | [12 empty] | 0 | 0 | 0
232 | [12 empty] | 0 | 0 | 0
233 | [12 empty] | 0 | 0 | 0
234 | [12 empty] | 0 | 0 | 0
235 | [12 empty] | 0 | 0 | 0
236 | [12 empty] | 0 | 0 | 0
237 | [12 empty] | 0 | 0 | 0
238 | [12 empty] | 0 | 0 | 0
239 | [12 empty] | 0 | 0 | 0
240 | [12 empty] | 0 | 0 | 0
241 | [12 empty] | 0 | 0 | 0
242 | [12 empty] | 0 | 0 | 0
243 | [12 empty] | 0 | 0 | 0
244 | [12 empty] | 0 | 0 | 0
245 | [12 empty] | 0 | 0 | 0
246 | [12 empty] | 0 | 0 | 0
247 | [12 empty] | 0 | 0 | 0
248 | [12 empty] | 0 | 0 | 0
249 | [12 empty] | 0 | 0 | 0
250 | [12 empty] | 0 | 0 | 0
251 | [12 empty] | 0 | 0 | 0
252 | [12 empty] | 0 | 0 | 0
253 | [12 empty] | 0 | 0 | 0
254 | [12 empty] | 0 | 0 | 0
255 | [12 empty] | 0 | 0 | 0
256 | [12 empty] | 0 | 0 | 0
257 | [12 empty] | 0 | 0 | 0
258 | [12 empty] | 0 | 0 | 0
259 | [12 empty] | 0 | 0 | 0
260 | [12 empty] | 0 | 0 | 0
261 | [12 empty] | 0 | 0 | 0
262 | [12 empty] | 0 | 0 | 0
263 | [12 empty] | 0 | 0 | 0
264 | [12 empty] | 0 | 0 | 0
265 | [12 empty] | 0 | 0 | 0
266 | [12 empty] | 0 | 0 | 0
267 | [12 empty] | 0 | 0 | 0
268 | [12 empty] | 0 | 0 | 0
269 | [12 empty] | 0 | 0 | 0
270 | [12 empty] | 0 | 0 | 0
271 | [12 empty] | 0 | 0 | 0
272 | [12 empty] | 0 | 0 | 0
273 | [12 empty] | 0 | 0 | 0
274 | [12 empty] | 0 | 0 | 0
275 | [12 empty] | 0 | 0 | 0
276 | [12 empty] | 0 | 0 | 0
277 | [12 empty] | 0 | 0 | 0
278 | [12 empty] | 0 | 0 | 0
279 | [12 empty] | 0 | 0 | 0
280 | [12 empty] | 0 | 0 | 0
281 | [12 empty] | 0 | 0 | 0
282 | [12 empty] | 0 | 0 | 0
283 | [12 empty] | 0 | 0 | 0
284 | [12 empty] | 0 | 0 | 0
285 | [12 empty] | 0 | 0 | 0
286 | [12 empty] | 0 | 0 | 0
287 | [12 empty] | 0 | 0 | 0
288 | [12 empty] | 0 | 0 | 0
289 | [12 empty] | 0 | 0 | 0
290 | [12 empty] | 0 | 0 | 0
291 | [12 empty] | 0 | 0 | 0
292 | [12 empty] | 0 | 0 | 0
293 | [12 empty] | 0 | 0 | 0
294 | [12 empty] | 0 | 0 | 0
295 | [12 empty] | 0 | 0 | 0
296 | [12 empty] | 0 | 0 | 0
297 | [12 empty] | 0 | 0 | 0
298 | [12 empty] | 0 | 0 | 0
299 | [12 empty] | 0 | 0 | 0
300 | [12 empty] | 0 | 0 | 0
301 | [12 empty] | 0 | 0 | 0
302 | [12 empty] | 0 | 0 | 0
303 | [12 empty] | 0 | 0 | 0
304 | [12 empty] | 0 | 0 | 0
305 | [12 empty] | 0 | 0 | 0
306 | [12 empty] | 0 | 0 | 0
307 | [12 empty] | 0 | 0 | 0
308 | [12 empty] | 0 | 0 | 0
309 | [12 empty] | 0 | 0 | 0
310 | [12 empty] | 0 | 0 | 0
311 | [12 empty] | 0 | 0 | 0
312 | [12 empty] | 0 | 0 | 0
313 | [12 empty] | 0 | 0 | 0
314 | [12 empty] | 0 | 0 | 0
315 | [12 empty] | 0 | 0 | 0
316 | [12 empty] | 0 | 0 | 0
317 | [12 empty] | 0 | 0 | 0
318 | [12 empty] | 0 | 0 | 0
319 | [12 empty] | 0 | 0 | 0
320 | [12 empty] | 0 | 0 | 0
321 | [12 empty] | 0 | 0 | 0
322 | [12 empty] | 0 | 0 | 0
323 | [12 empty] | 0 | 0 | 0
324 | [12 empty] | 0 | 0 | 0
325 | [12 empty] | 0 | 0 | 0
326 | [12 empty] | 0 | 0 | 0
327 | [12 empty] | 0 | 0 | 0
328 | [12 empty] | 0 | 0 | 0
329 | [12 empty] | 0 | 0 | 0
330 | [12 empty] | 0 | 0 | 0
331 | [12 empty] | 0 | 0 | 0
332 | [12 empty] | 0 | 0 | 0
333 | [12 empty] | 0 | 0 | 0
334 | [12 empty] | 0 | 0 | 0
335 | [12 empty] | 0 | 0 | 0
336 | [12 empty] | 0 | 0 | 0
337 | [12 empty] | 0 | 0 | 0
338 | [12 empty] | 0 | 0 | 0
339 | [12 empty] | 0 | 0 | 0
340 | [12 empty] | 0 | 0 | 0
341 | [12 empty] | 0 | 0 | 0
342 | [12 empty] | 0 | 0 | 0
343 | [12 empty] | 0 | 0 | 0
344 | [12 empty] | 0 | 0 | 0
345 | [12 empty] | 0 | 0 | 0
346 | [12 empty] | 0 | 0 | 0
347 | [12 empty] | 0 | 0 | 0
348 | [12 empty] | 0 | 0 | 0
349 | [12 empty] | 0 | 0 | 0
350 | [12 empty] | 0 | 0 | 0
351 | [12 empty] | 0 | 0 | 0
352 | [12 empty] | 0 | 0 | 0
353 | [12 empty] | 0 | 0 | 0
354 | [12 empty] | 0 | 0 | 0
355 | [12 empty] | 0 | 0 | 0
356 | [12 empty] | 0 | 0 | 0
357 | [12 empty] | 0 | 0 | 0
358 | [12 empty] | 0 | 0 | 0
359 | [12 empty] | 0 | 0 | 0
360 | [12 empty] | 0 | 0 | 0
361 | [12 empty] | 0 | 0 | 0
362 | [12 empty] | 0 | 0 | 0
363 | [12 empty] | 0 | 0 | 0
364 | [12 empty] | 0 | 0 | 0
365 | [12 empty] | 0 | 0 | 0
366 | [12 empty] | 0 | 0 | 0
367 | [12 empty] | 0 | 0 | 0
368 | [12 empty] | 0 | 0 | 0
369 | [12 empty] | 0 | 0 | 0
370 | [12 empty] | 0 | 0 | 0
371 | [12 empty] | 0 | 0 | 0
372 | [12 empty] | 0 | 0 | 0
373 | [12 empty] | 0 | 0 | 0
374 | [12 empty] | 0 | 0 | 0
375 | [12 empty] | 0 | 0 | 0
376 | [12 empty] | 0 | 0 | 0
377 | [12 empty] | 0 | 0 | 0
378 | [12 empty] | 0 | 0 | 0
379 | [12 empty] | 0 | 0 | 0
380 | [12 empty] | 0 | 0 | 0
381 | [12 empty] | 0 | 0 | 0
382 | [12 empty] | 0 | 0 | 0
383 | [12 empty] | 0 | 0 | 0
384 | [12 empty] | 0 | 0 | 0
385 | [12 empty] | 0 | 0 | 0
386 | [12 empty] | 0 | 0 | 0
387 | [12 empty] | 0 | 0 | 0
388 | [12 empty] | 0 | 0 | 0
389 | [12 empty] | 0 | 0 | 0
390 | [12 empty] | 0 | 0 | 0
391 | [12 empty] | 0 | 0 | 0
392 | [12 empty] | 0 | 0 | 0
393 | [12 empty] | 0 | 0 | 0
394 | [12 empty] | 0 | 0 | 0
395 | [12 empty] | 0 | 0 | 0
396 | [12 empty] | 0 | 0 | 0
397 | [12 empty] | 0 | 0 | 0
398 | [12 empty] | 0 | 0 | 0
399 | [12 empty] | 0 | 0 | 0
400 | [12 empty] | 0 | 0 | 0
401 | [12 empty] | 0 | 0 | 0
402 | [12 empty] | 0 | 0 | 0
403 | [12 empty] | 0 | 0 | 0
404 | [12 empty] | 0 | 0 | 0
405 | [12 empty] | 0 | 0 | 0
406 | [12 empty] | 0 | 0 | 0
407 | [12 empty] | 0 | 0 | 0
408 | [12 empty] | 0 | 0 | 0
409 | [12 empty] | 0 | 0 | 0
410 | [12 empty] | 0 | 0 | 0
411 | [12 empty] | 0 | 0 | 0
412 | [12 empty] | 0 | 0 | 0
413 | [12 empty] | 0 | 0 | 0
414 | [12 empty] | 0 | 0 | 0
415 | [12 empty] | 0 | 0 | 0
416 | [12 empty] | 0 | 0 | 0
417 | [12 empty] | 0 | 0 | 0
418 | [12 empty] | 0 | 0 | 0
419 | [12 empty] | 0 | 0 | 0
420 | [12 empty] | 0 | 0 | 0
421 | [12 empty] | 0 | 0 | 0
422 | [12 empty] | 0 | 0 | 0
423 | [12 empty] | 0 | 0 | 0
424 | [12 empty] | 0 | 0 | 0
425 | [12 empty] | 0 | 0 | 0
426 | [12 empty] | 0 | 0 | 0
427 | [12 empty] | 0 | 0 | 0
428 | [12 empty] | 0 | 0 | 0
429 | [12 empty] | 0 | 0 | 0
430 | [12 empty] | 0 | 0 | 0
431 | [12 empty] | 0 | 0 | 0
432 | [12 empty] | 0 | 0 | 0
433 | [12 empty] | 0 | 0 | 0
434 | [12 empty] | 0 | 0 | 0
435 | [12 empty] | 0 | 0 | 0
436 | [12 empty] | 0 | 0 | 0
437 | [12 empty] | 0 | 0 | 0
438 | [12 empty] | 0 | 0 | 0
439 | [12 empty] | 0 | 0 | 0
440 | [12 empty] | 0 | 0 | 0
441 | [12 empty] | 0 | 0 | 0
442 | [12 empty] | 0 | 0 | 0
443 | [12 empty] | 0 | 0 | 0
444 | [12 empty] | 0 | 0 | 0
445 | [12 empty] | 0 | 0 | 0
446 | [12 empty] | 0 | 0 | 0
447 | [12 empty] | 0 | 0 | 0
448 | [12 empty] | 0 | 0 | 0
449 | [12 empty] | 0 | 0 | 0
450 | [12 empty] | 0 | 0 | 0
451 | [12 empty] | 0 | 0 | 0
452 | [12 empty] | 0 | 0 | 0
453 | [12 empty] | 0 | 0 | 0
454 | [12 empty] | 0 | 0 | 0
455 | [12 empty] | 0 | 0 | 0
456 | [12 empty] | 0 | 0 | 0
457 | [12 empty] | 0 | 0 | 0
458 | [12 empty] | 0 | 0 | 0
459 | [12 empty] | 0 | 0 | 0
460 | [12 empty] | 0 | 0 | 0
461 | [12 empty] | 0 | 0 | 0
462 | [12 empty] | 0 | 0 | 0
463 | [12 empty] | 0 | 0 | 0
464 | [12 empty] | 0 | 0 | 0
465 | [12 empty] | 0 | 0 | 0
466 | [12 empty] | 0 | 0 | 0
467 | [12 empty] | 0 | 0 | 0
468 | [12 empty] | 0 | 0 | 0
469 | [12 empty] | 0 | 0 | 0
470 | [12 empty] | 0 | 0 | 0
471 | [12 empty] | 0 | 0 | 0
472 | [12 empty] | 0 | 0 | 0
473 | [12 empty] | 0 | 0 | 0
474 | [12 empty] | 0 | 0 | 0
475 | [12 empty] | 0 | 0 | 0
476 | [12 empty] | 0 | 0 | 0
477 | [12 empty] | 0 | 0 | 0
478 | [12 empty] | 0 | 0 | 0
479 | [12 empty] | 0 | 0 | 0
480 | [12 empty] | 0 | 0 | 0
481 | [12 empty] | 0 | 0 | 0
482 | [12 empty] | 0 | 0 | 0
483 | [12 empty] | 0 | 0 | 0
484 | [12 empty] | 0 | 0 | 0
485 | [12 empty] | 0 | 0 | 0
486 | [12 empty] | 0 | 0 | 0
487 | [12 empty] | 0 | 0 | 0
488 | [12 empty] | 0 | 0 | 0
489 | [12 empty] | 0 | 0 | 0
490 | [12 empty] | 0 | 0 | 0
491 | [12 empty] | 0 | 0 | 0
492 | [12 empty] | 0 | 0 | 0
493 | [12 empty] | 0 | 0 | 0
Note on A8: Example row showing the expected format. Overwrite it with the first real leak.

## Flow Curves (hidden)
UE Systems Ultraprobe Compressed Gas Loss Guess-Timator, (c) 2008 UE Systems Inc.
CFM = a x dB^b. Values are a general guideline, not a measured flow (UE Systems notice). Readings compensated for atmospheric pressure; probe held 15 in from the leak.
Pressure (psi) | a | b
10 | 0.0004 | 2.0766
25 | 0.001 | 1.9185
50 | 0.0031 | 1.6865
75 | 0.0082 | 1.4978
100 | 0.014 | 1.4004
125 | 0.02 | 1.3399
150 | 0.0297 | 1.2712